## Experiment Plan
specs1K-v2
Day 1 |  |  | Day 2
L1 |  |  | L2
| dummy DMSO |  |  | dummy DMSO
Day 1 | plate 1 |  | Day 2 | plate 1
| plate 2 |  |  | plate 2
Batch 1 | plate 3 |  | Batch 3 | plate 3
Assay Plate 8 | plate 4 |  | Assay Plate 8 | plate 4
Dummy Plate 1 | plate 5 |  | Dummy Plate 1 | plate 5
| plate 6 |  |  | plate 6
plates/batch 9 | plate 7 |  | plates/batch 9 | plate 7
| plate 8 |  |  | plate 8
| dummy DMSO |  |  | dummy DMSO
Day 1 | plate 9 |  | Day 2 | plate 9
| plate 10 |  |  | plate 10
Batch 2 | plate 11 |  | Batch 4 | plate 11
Assay Plate 5 | plate 12 |  | Assay Plate 5 | plate 12
Dummy Plate 1 | plate 13 |  | Dummy Plate 1 | plate 13
plates/batch 6 |  |  | plates/batch 6
Total number of plates
30

## Cell Culture Plan
specs1K-v2 | [6 empty] | specs935
Day | Date | Passage | Batch 1 & 2 | Batch 3 & 4 | Painting 1 & 2 | Painting 3 & 4 | Day | Date | Passage | Batch 1 & 2 | Batch 3 & 4 | Painting 1 & 2 | Painting 3 & 4
Fri | 26 | [5 empty] | Mon | 6 | P3
Sat | 27 | [5 empty] | Tue | 7
Sun | 28 | P4 | Thawing P4 |  |  |  | Wed | 8
Mon | 29 |  |  | Thawing P4 |  |  | Thu | 9
Tue | 30 | [5 empty] | Fri | 10 | P4
Wed | 31 | P5 | New Media |  |  |  | Sat | 11
Thur | 1 |  | P5 Cells highly confluent (Split 1:9) | New Media |  |  | Sun | 12
Fri | 2 |  |  | P5 Cells highly confluent (Split 1:9) |  |  | Mon | 13 | P5 | Seed P5
Sat | 3 | [5 empty] | Tue | 14 | P6 |  | Seed P6
Sun | 4 | [5 empty] | Wed | 15 |  |  |  | Paint 1&2 P5
Mon | 5 | P6 | Seed P6 L1 9am 11am |  |  |  | Thu | 16 |  |  |  |  | Paint 3&4 P6
Tue | 6 | P6 |  | Seed P6 L2 9am 11am |  |  | Fri | 17
Wed | 7 |  |  |  | Painting 1&2 L1 |  | Sat | 18
Thur | 8 |  |  |  |  | Painting 3&4 L2 | Sun | 19
Fri | 9 | [5 empty] | Mon | 20

## Cell Seeding Plan
2022-09-05 | Monday | 2022-09-06 | Tuesday | 2022-09-07 | Wednesday | 2022-09-08 | Thursday
Event | Time | Event | Time | Event | Time | Event | Time
Plates out form -20C | 8:00 | Plates out form -20C | 8:00 | Defrost Stains | 8:00 | Defrost Stains | 8:00
Filling Cell Culture Media | 8:30 | Filling Cell Culture Media | 8:30 | Load PBS |  | Load PBS
Splitting cells | 8:45 | Splitting cells | 8:45 | Cell Painting | 9:00 | Cell Painting | 9:00
Seeding Cells Barch 1 | 9:00 | Seeding Cells Barch 3 | 9:00
Plates out from -20C | 11:00 | Plates out from -20C | 11:00 | Cell Painting | 12:00 | Cell Painting | 12:00
Filling Cell Culture Media | 11:30 | Filling Cell Culture Media | 11:30
Splitting Cells | 11:45 | Splitting Cells | 11:45
Seeding Cells Barch 2 | 12:00 | Seeding Cells Barch 4 | 12:00
Testdrive Protocol V4 |  |  |  | Prepare new PBS
Measure remaining staining volumes
Mix staining reagents and freeze
Prepare PBS

## Stains Calculaitons
Reagents setup for entire SPECS1K-v2 run
Date | Experiment | Plates | Dummy plate | Dead-and-predispense | Plate-size | Key-stain | Cell-state | Stain | Stock-conc | Stock-conc-unit | Well-concentration | Well-con-units | Well-vol | Well-vol-unit | Staining-vol | Staining-vol-unit | Work-conc | Work-conc-unit | Work-vol (PBS+Stains) | Work-vol-unit | Volume-from-stock | Volume-from-stock-unit | Diluent | Diluent-conc | Stock-vol | Stock-vol-unit | Number-of-vials | 4 separate staining preps | What we ahve | Shortage
| specs1k-v2 | 26 | 4 | 8 | 384 | M | Live | Mitotracker | 1 | mM | 900 | nM | 50 | uL | 30 | uL | 1.5 | uM | 437.76 | mL | 656.64 | uL | Fluorobrite | 1x | 92 | uL | 7.1374 | 28 | 34 | 6
| specs1k-v2 | 26 | 4 | 6 | 384 | H | Fixed | Hoechst | 10 | mg/mL | 10 | ug | 30 | uL | 20 | uL | 15 | uM | 276.48 | uL | 414.72 | uL | PBS | 1x | 10 | mL | 0.041472
| specs1k-v2 | 26 | 4 | 6 | 384 | S | Fixed | Syto-14 | 5 | mM | 4 | uM | 30 | uL | 20 | uL | 6 | uM | 276.48 | uL | 331.776 | uL | PBS | 1x | 250 | uL | 1.3271 | 8 | 7 | -1
| specs1k-v2 | 26 | 4 | 6 | 384 | C | Fixed | Concanavalin-A | 5 | mg/mL | 40 | ug | 30 | uL | 20 | uL | 60 | uM | 276.48 | uL | 3317.76 | uL | PBS | 1x | 1 | mL | 3.3178 | 16 | 15 | -1
| specs1k-v2 | 26 | 4 | 6 | 384 | P | Fixed | Phalloidin | 200 | U | 5 | ul | 30 | uL | 20 | uL | 7.5 | uM | 276.48 | uL | 2073.6 | uL | PBS | 1x | 1.5 | mL | 1.3824 | 8 | 6 | -2
| specs1k-v2 | 26 | 4 | 6 | 384 | W | Fixed | WGA | 5 | mg/mL | 15 | ug | 30 | uL | 20 | uL | 22.5 | uM | 276.48 | uL | 1244.16 | uL | PBS | 1x | 1 | mL | 1.2442 | 8 | 6 | -2
SUM
7.382
PBS
269.098
Reagents setup for 1 day ( 2 batches) run
Date | Experiment | Plates | Dummy plate | Dead-and-predispense | Plate-size | Key-stain | Cell-state | Stain | Stock-conc | Stock-conc-unit | Well-concentration | Well-con-units | Well-vol | Well-vol-unit | Staining-vol | Staining-vol-unit | Work-conc | Work-conc-unit | Work-vol (PBS+Stains) | Work-vol-unit | Volume-from-stock | Volume-from-stock-unit | Diluent | Diluent-conc | Stock-vol | Stock-vol-unit | Number-of-vials
| specs1k-v2 | 13 | 2 | 4 | 384 | M | Live | Mitotracker | 1 | mM | 900 | nM | 50 | uL | 30 | uL | 1.5 | uM | 218.88 | mL | 328.32 | uL | Fluorobrite | 1x | 92 | uL | 3.5687
| specs1k-v2 | 13 | 2 | 3 | 384 | H | Fixed | Hoechst | 10 | mg/mL | 10 | ug | 30 | uL | 20 | uL | 15 | uM | 138.24 | uL | 207.36 | uL | PBS | 1x | 10 | mL | 0.020736
| specs1k-v2 | 13 | 2 | 3 | 384 | S | Fixed | Syto-14 | 5 | mM | 4 | uM | 30 | uL | 20 | uL | 6 | uM | 138.24 | uL | 165.888 | uL | PBS | 1x | 250 | uL | 0.66355
| specs1k-v2 | 13 | 2 | 3 | 384 | C | Fixed | Concanavalin-A | 5 | mg/mL | 40 | ug | 30 | uL | 20 | uL | 60 | uM | 138.24 | uL | 1658.88 | uL | PBS | 1x | 1 | mL | 1.6589
| specs1k-v2 | 13 | 2 | 3 | 384 | P | Fixed | Phalloidin | 200 | U | 5 | ul | 30 | uL | 20 | uL | 7.5 | uM | 138.24 | uL | 1036.8 | uL | PBS | 1x | 1.5 | mL | 0.6912
| specs1k-v2 | 13 | 2 | 3 | 384 | W | Fixed | WGA | 5 | mg/mL | 15 | ug | 30 | uL | 20 | uL | 22.5 | uM | 138.24 | uL | 622.08 | uL | PBS | 1x | 1 | mL | 0.62208
SUM
3.691
PBS
134.549
Mirroring another excel sheet
| specs1k-v2 | 34 | 2 | 4 | 384 | M | Live | Mitotracker | 1 | mM | 900 | nM | 50 | uL | 30 | uL | 1.5 | uM | 460.8 | mL | 691.2 | uL | Fluorobrite | 1x | 92 | uL | 7.513
| specs1k-v2 | 34 | 2 | 2 | 384 | H | Fixed | Hoechst | 10 | mg/mL | 10 | ug | 30 | uL | 20 | uL | 15 | uM | 291.84 | uL | 437.76 | uL | PBS | 1x | 10 | mL | 0.043776
| specs1k-v2 | 34 | 2 | 2 | 384 | S | Fixed | Syto-14 | 5 | mM | 4 | uM | 30 | uL | 20 | uL | 6 | uM | 291.84 | uL | 350.208 | uL | PBS | 1x | 250 | uL | 1.4008
| specs1k-v2 | 34 | 2 | 2 | 384 | C | Fixed | Concanavalin-A | 5 | mg/mL | 40 | ug | 30 | uL | 20 | uL | 60 | uM | 291.84 | uL | 3502.08 | uL | PBS | 1x | 1 | mL | 3.5021
| specs1k-v2 | 34 | 2 | 2 | 384 | P | Fixed | Phalloidin | 200 | U | 5 | ul | 30 | uL | 20 | uL | 7.5 | uM | 291.84 | uL | 2188.8 | uL | PBS | 1x | 1.5 | mL | 1.4592
| specs1k-v2 | 34 | 2 | 2 | 384 | W | Fixed | WGA | 5 | mg/mL | 15 | ug | 30 | uL | 20 | uL | 22.5 | uM | 291.84 | uL | 1313.28 | uL | PBS | 1x | 1 | mL | 1.3133
specs1k-v2

## PBS and Triton-X Calc
Date | Experiment | Plates | Dummy_plates | Dead_vol | Plate_size | Solution | Stock | Stock_unit | Work_concentration | Work_conc_unit | Well_vol | Well_vol_unit | Solution_volume | Solution_volume_unit | Work_volume | Work_vol_unit | Volume_from_stock | Vol_from_stock_unit | Diluent
| Orebro | 4 | 0 | 2 | 384 | PBS-tab | 0.5 | L | 1 | X | 10 | ul | 80 | ul | 3.3178 | L | 6.6355 | Tablets | d-H2O
| Orebro | 4 | 0 | 1 | 384 | X-100 | 10 | % | 0.1 | % | 10 | ul | 80 | ul | 153.6 | mL | 1.536 | mL | PBS
| SPECS1K-v2 | 13 | 2 | 2 | 384 | PBS-tab | 0.5 | L | 1 | X | 10 | ul | 80 | ul | 9.401 | L | 18.802 | Tablets | d-H2O
| SPECS1K-v2 | 13 | 2 | 3 | 384 | X-100 | 10 | % | 0.1 | % | 10 | ul | 80 | ul | 552.96 | mL | 5.5296 | mL | PBS

## Media for compounds
Media for compounds
Batch | Volume per well ul | Plate Size | Volume per plate mL | Nr of plates | Extra volume factor | Total Media Volume mL
1 | 20 | 384 | 7.68 | 9 | 1.5 | 103.68
2 | 20 | 384 | 7.68 | 6 | 1.5 | 69.12
3 | 20 | 384 | 7.68 | 11 | 1 | 84.48
4 | 20 | 384 | 7.68 | 8 | 1 | 61.44
Add 2 extra plates for dead volume!
Do not use Extra volume factor
New Media Prepared on 2022-09-04
New Media Prepared on 2022-09-06

## Plates and Batches
SPECS1K-v2
Nr | Batch 1 | Layout | Nr | Batch 2 | Layout
1 | DMSO Dummy |  | 10 | DMSO Dummy |  | P100658
2 | P100644 | L1 | 11 | P100658 | L1 | P100636
3 | P100646 | L1 | 12 | P100636 | L1 | P100638
4 | P100648 | L1 | 13 | P100638 | L1 | P100640
5 | P100660 | L1 | 14 | P100640 | L1 | P100642
6 | P100650 | L1 | 15 | P100642 | L1 | P100659
7 | P100652 | L1 |  |  |  | P100637
8 | P100654 | L1 |  |  |  | P100639
9 | P100656 | L1 |  |  |  | P100641
Double wash at the end |  |  | Lost plates due to technical error |  |  | P100643
Nr | Batch 3 | Layout | Nr | Batch 4 | Layout
1 | DMSO Dummy |  | 10 | DMSO Dummy
2 | P100645 | L2 | 11 | P100659 | L2
3 | P100647 | L2 | 12 | P100637 | L2
4 | P100649 | L2 | 13 | P100639 | L2
5 | P100661 | L2 | 14 | P100641 | L2
6 | P100651 | L2 | 15 | P100643 | L2
7 | P100653 | L2
8 | P100655 | L2
9 | P100657 | L2
Double wash at the end |  |  | Single wash at the end
Scanned Remaining Not Scanned
Nr | Name |  |  | specs-1K-v2 Compound Center
1 | specs1K-v2-FA-DMSO-batch1-U2OS-48h
2 | specs1K-v2-FA-P100644-P1-U2OS-48h-L1 |  |  | 1
3 | specs1K-v2-FA-P100646-P2-U2OS-48h-L1 |  |  | 2
4 | specs1K-v2-FA-P100648-P3-U2OS-48h-L1 |  |  | 3
5 | specs1K-v2-FA-P100660-P4-U2OS-48h-L1 |  |  | 4
6 | specs1K-v2-FA-P100650-P5-U2OS-48h-L1 |  |  | 5
7 | specs1K-v2-FA-P100652-P6-U2OS-48h-L1 |  |  | 6
8 | specs1K-v2-FA-P100654-P7-U2OS-48h-L1 |  |  | 7
9 | specs1K-v2-FA-P100656-P8-U2OS-48h-L1 |  |  | 8
10 | specs1K-v2-FA-DMSO-batch2-U2OS-48h
11 | specs1K-v2-FA-P100658-P9-U2OS-48h-L1 |  |  | 9
12 | specs1K-v2-FA-P100636-P10-U2OS-48h-L1 |  |  | 10
13 | specs1K-v2-FA-P100638-P11-U2OS-48h-L1 |  |  | 11
14 | specs1K-v2-FA-P100640-P12-U2OS-48h-L1 |  |  | 12
15 | specs1K-v2-FA-P100642-P13-U2OS-48h-L1 |  |  | 13
16 | specs1K-v2-FA-DMSO-batch3-U2OS-48h
17 | specs1K-v2-FA-P100645-P14-U2OS-48h-L2 |  |  | 14
18 | specs1K-v2-FA-P100647-P15-U2OS-48h-L2 |  |  | 15
19 | specs1K-v2-FA-P100649-P16-U2OS-48h-L2 |  |  | 16
20 | specs1K-v2-FA-P100661-P17-U2OS-48h-L2 |  |  | 17
21 | specs1K-v2-FA-P100651-P18-U2OS-48h-L2 |  |  | 18 | Issues with microscope
22 | specs1K-v2-FA-P100653-P19-U2OS-48h-L2 |  |  | 19
23 | specs1K-v2-FA-P100655-P20-U2OS-48h-L2 |  |  | 20
24 | specs1K-v2-FA-P100657-P21-U2OS-48h-L2 |  |  | 21
25 | specs1K-v2-FA-DMSO-batch4-U2OS-48h
26 | specs1K-v2-FA-P100659-P22-U2OS-48h-L2 |  |  | 22
27 | specs1K-v2-FA-P100637-P23-U2OS-48h-L2 |  |  | 23
28 | specs1K-v2-FA-P100639-P24-U2OS-48h-L2 |  |  | 24
29 | specs1K-v2-FA-P100641-P25-U2OS-48h-L2 |  |  | 25
30 | specs1K-v2-FA-P100643-P26-U2OS-48h-L2 |  |  | 26

## Fridge Setup
project | barcode | base_name | hts_file
specs1K-v2 | DMSO Dummy | specs1K-v2-FA-DMSO-batch1-U2OS-48h | specs1K-v2/specs1K-v2-FA-BARCODE-U2OS-48h.HTS
specs1K-v2 | P100644 | specs1K-v2-FA-P100644-P1-U2OS-48h-L1 | specs1K-v2/specs1K-v2-FA-BARCODE-U2OS-48h.HTS
specs1K-v2 | P100646 | specs1K-v2-FA-P100646-P2-U2OS-48h-L1 | specs1K-v2/specs1K-v2-FA-BARCODE-U2OS-48h.HTS
specs1K-v2 | P100648 | specs1K-v2-FA-P100648-P3-U2OS-48h-L1 | specs1K-v2/specs1K-v2-FA-BARCODE-U2OS-48h.HTS
specs1K-v2 | P100660 | specs1K-v2-FA-P100660-P4-U2OS-48h-L1 | specs1K-v2/specs1K-v2-FA-BARCODE-U2OS-48h.HTS
specs1K-v2 | P100650 | specs1K-v2-FA-P100650-P5-U2OS-48h-L1 | specs1K-v2/specs1K-v2-FA-BARCODE-U2OS-48h.HTS
specs1K-v2 | P100652 | specs1K-v2-FA-P100652-P6-U2OS-48h-L1 | specs1K-v2/specs1K-v2-FA-BARCODE-U2OS-48h.HTS
specs1K-v2 | P100654 | specs1K-v2-FA-P100654-P7-U2OS-48h-L1 | specs1K-v2/specs1K-v2-FA-BARCODE-U2OS-48h.HTS
specs1K-v2 | P100656 | specs1K-v2-FA-P100656-P8-U2OS-48h-L1 | specs1K-v2/specs1K-v2-FA-BARCODE-U2OS-48h.HTS
specs1K-v2 | 00000543 | specs1K-v2-FA-DMSO-batch3-U2OS-48h | specs1K-v2/specs1K-v2-FA-BARCODE-U2OS-48h.HTS
specs1K-v2 | P100645 | specs1K-v2-FA-P100645-P14-U2OS-48h-L2 | specs1K-v2/specs1K-v2-FA-BARCODE-U2OS-48h.HTS
specs1K-v2 | P100647 | specs1K-v2-FA-P100647-P15-U2OS-48h-L2 | specs1K-v2/specs1K-v2-FA-BARCODE-U2OS-48h.HTS
specs1K-v2 | P100649 | specs1K-v2-FA-P100649-P16-U2OS-48h-L2 | specs1K-v2/specs1K-v2-FA-BARCODE-U2OS-48h.HTS
specs1K-v2 | P100661 | specs1K-v2-FA-P100661-P17-U2OS-48h-L2 | specs1K-v2/specs1K-v2-FA-BARCODE-U2OS-48h.HTS
specs1K-v2 | P100651 | specs1K-v2-FA-P100651-P18-U2OS-48h-L2 | specs1K-v2/specs1K-v2-FA-BARCODE-U2OS-48h.HTS
specs1K-v2 | P100653 | specs1K-v2-FA-P100653-P19-U2OS-48h-L2 | specs1K-v2/specs1K-v2-FA-BARCODE-U2OS-48h.HTS
specs1K-v2 | P100655 | specs1K-v2-FA-P100655-P20-U2OS-48h-L2 | specs1K-v2/specs1K-v2-FA-BARCODE-U2OS-48h.HTS
specs1K-v2 | P100657 | specs1K-v2-FA-P100657-P21-U2OS-48h-L2 | specs1K-v2/specs1K-v2-FA-BARCODE-U2OS-48h.HTS
specs1K-v2 | 00000550 | specs1K-v2-FA-DMSO-batch4-U2OS-48h | specs1K-v2/specs1K-v2-FA-BARCODE-U2OS-48h.HTS
specs1K-v2 | P100659 | specs1K-v2-FA-P100659-P22-U2OS-48h-L2 | specs1K-v2/specs1K-v2-FA-BARCODE-U2OS-48h.HTS
specs1K-v2 | P100637 | specs1K-v2-FA-P100637-P23-U2OS-48h-L2 | specs1K-v2/specs1K-v2-FA-BARCODE-U2OS-48h.HTS
specs1K-v2 | P100639 | specs1K-v2-FA-P100639-P24-U2OS-48h-L2 | specs1K-v2/specs1K-v2-FA-BARCODE-U2OS-48h.HTS
specs1K-v2 | P100641 | specs1K-v2-FA-P100641-P25-U2OS-48h-L2 | specs1K-v2/specs1K-v2-FA-BARCODE-U2OS-48h.HTS
specs1K-v2 | P100643 | specs1K-v2-FA-P100643-P26-U2OS-48h-L2 | specs1K-v2/specs1K-v2-FA-BARCODE-U2OS-48h.HTS

## QC & Features
Plate Name in Image Database | AqcID | QC | Features | Links
specs1K-v2-FA-DMSO-batch1-U2OS-48h | 2370
specs1K-v2-FA-P100644-P1-U2OS-48h-L1 | 2371
specs1K-v2-FA-P100646-P2-U2OS-48h-L1
specs1K-v2-FA-P100648-P3-U2OS-48h-L1
specs1K-v2-FA-P100660-P4-U2OS-48h-L1
specs1K-v2-FA-P100650-P5-U2OS-48h-L1
specs1K-v2-FA-P100652-P6-U2OS-48h-L1
specs1K-v2-FA-P100654-P7-U2OS-48h-L1
specs1K-v2-FA-P100656-P8-U2OS-48h-L1

## Lab
2022-09-08 SPECS1K-v2 |  |  |  | Batch 3&4
Plates | Plates | Dummy plates | Dead vol | Plate size | Solution | Work volume | Volume from stock | Vol from stock unit | PBS Vol mL
PBS | 13 | 2 | 2 | 384 | PBS-tab | 9.401 | 18.802 | Tablets
Triton-X | 13 | 2 | 3 | 384 | Triton X-100 | 552.96 | 5.53 | mL | 547.43
Date | Experiment | Plates | Dummy plate | Dead-and-predispense | Plate size | Stain | Work-vol (PBS+ Stains) | Work-vol-unit | Volume from stock | Volume from stock unit | Diluent | Diluentconc | Stock vol | Stock-vol-unit | Vials | Merge
2022-09-08 | specs1k-v2 | 13 | 2 | 4 | 384 | Mitotracker | 218.88 | mL | 328.32 | uL | Fluorobrite | 1x | 92 | uL | 3.76 | ☐
| specs1k-v2 | 13 | 2 | 3 | 384 | Hoechst | 138.24 | uL | 207.36 | uL | PBS | 1x | 10 | mL | 0.020736
| specs1k-v2 | 13 | 2 | 3 | 384 | Syto-14 | 138.24 | uL | 165.888 | uL | PBS | 1x | 250 | uL | 0.66355
| specs1k-v2 | 13 | 2 | 3 | 384 | Concanavalin-A | 138.24 | uL | 1658.88 | uL | PBS | 1x | 1 | mL | 1.6589 | ☐
| specs1k-v2 | 13 | 2 | 3 | 384 | Phalloidin | 138.24 | uL | 1036.8 | uL | PBS | 1x | 1.5 | mL | 0.6912
| specs1k-v2 | 13 | 2 | 3 | 384 | WGA | 138.24 | uL | 622.08 | uL | PBS | 1x | 1 | mL | 0.62208
| Prepare Mitoblocking solution | [6 empty] | Mito Blocker
| Block the tubing manually | [6 empty] | PBS | 11 | mL
| Prewarm Fluorobrite volume in glass bottle | [6 empty] | FBS | 1.2 | mL
| Add Mitotacker to FluoroBrite | [6 empty] | MitoTracker | 15 | ul
| Prepare Stains | [6 empty] | Mitotracker
| Perpare Triton | [6 empty] | Mitotracker | 0.32832 | mL
| Perpare PFA 560 mL | [6 empty] | FLuoroBrite | 218.5517 | mL
Stains
[8 empty] | Stains | 3.691 | mL
[8 empty] | PBS | 134.549 | mL
Triton X-100
[8 empty] | PBS | 547.43 | mL
[8 empty] | Triton X-100 | 5.53 | mL
PFA
[8 empty] | 4% | 560 | mL

## Ordering
Reagent | Wells | Volume/Well mL | Vol per plate | Plates | Total Vol in Plates mL | Predispense per batch | Predispense per plate | Dead volume | Batches | Maintainance Volume | Total Volume | Reagent used per 1mL | Total Reagent Volume mL | Volume per Vial mL | Vials | Total Vials Per 1K | 4K | Order | OverHead
MitoTracker | 384 | 0.03 | 11.52 | 28 | 322.56 | 15 | 0 | 20 | 4 | 140 | 462.56 | 0.0015 | 0.74184 | 0.092 | 8.0635 | 9 | 32.2539 | 34 | 1.7461
Phalloidin | 384 | 0.02 | 7.68 | 28 | 215.04 | 0.5 | 0.5 | 4 | 4 | 32 | 247.04 | 0.0075 | 1.8528 | 1.5 | 1.2352 | 2 | 4.9408 | 6 | 1.0592
Concanavalin | 384 | 0.02 | 7.68 | 28 | 215.04 | 0.5 | 0.5 | 4 | 4 | 32 | 247.04 | 0.012 | 2.9645 | 1 | 2.9645 | 12 | 11.8579 | 15 | 3.1421
WGA | 384 | 0.02 | 7.68 | 28 | 215.04 | 0.5 | 0.5 | 4 | 4 | 32 | 247.04 | 0.0045 | 1.1117 | 1 | 1.1117 | 2 | 4.4467 | 6 | 1.5533
SYTO | 384 | 0.02 | 7.68 | 28 | 215.04 | 0.5 | 0.5 | 4 | 4 | 32 | 247.04 | 0.0015 | 0.37056 | 0.25 | 1.4822 | 2 | 5.929 | 7 | 1.071
MitoTracker Blocking | [8 empty] | 4 |  |  |  | 0.048
Reagent | Nr of vials to order | Overhead Vials
MitoTracker | 34 | 1.7461
Phalloidin | 6 | 1.0592
Concanavalin | 15 | 1.5683
WGA | 6 | 1.5533
SYTO | 7 | 1.071

## Reagents Used
Reagent | REF | LOT
Hoechst 33342 | H3570 | 2397775
SYTO-14 | S7576 | 2445352
Wheat germ agglutinin | W32464 | 24800085
Concanavalin A | C11252 | 2296775
Plalloidin | A12380 | 2326031

## reagent, utensils and solutions
name | description | function/details | brand | Article number
https://drive.google.com/drive/folders/1qjAJmqdH477MZPAdegSh30C-iVemfNRS?usp=sharing
Washer | Biotek 405 LS
Dispenser | MultiFlow FX Multi-Mode dispenser
Microscope | ImageXpress
pipetting robot | Opentrons
incubator
utensils
96 well plates | Costar 3603 | Plates compatible with IMX | VWR | 734-1609
96 Well Standard F | TC-plate | Plate for holomonitor | Sarstedt | 83.3924
Corning 353962 | Falcon | Assay plates | Thermo Fisher Scientific | 10132181
CellCarrier-384 Ultra Microplates, tissue culture treated, black, 384-well with lid | Perkin Elmer | Assay plates | Perkin Elmer
Greiner CELLSTAR 384 well plates M1937-32EA | Greiner | Assay plates | Sigma Aldrich | M1937
solutions
DMEM low glucose | Eagle's minimal essential medium | basal medium for mammalian cells | Gibco | 31885-023
DMEM high glucose | Eagle's minimal essential medium | basal medium for mammalian cells | Gibco | 21969-035
DMEM glutaMax | Eagle's minimal essential medium | basal medium for mammalian cells | Gibco
MEM | Gibco Minimum Essential Media |  | Gibco | 31095-029
MEM | Gibco Minimum Essential Media |  | Gibco | 51200-046
MEM | Gibco Minimum Essential Media |  | Gibco | M0325-500ML
IMDM | Iscove's Modified Dulbecco's Medium | HEPES buffered medium | Gibco | 12440-061
HEPES buffer |  |  | Gibco | 15630-056
FluoroBrite
Image Live cell solution
RPMI |  | basal medium for mammalian cells | Gibco | 31870-025
EMEM
P/S | Penicillin-Streptomycin | antibiotics | Gibco | 15140-122
FluoroBrite | FluoroBrite DMEM (transparent culture media) | Transparent basal medium | Gibco | 15291866
FBS | fetal bovine serum | Promotes cell growth | Gibco | 11550356 | 10500064
TrypLE Select | recombinant cell-dissociation enzymes | Dissociation of cells | Gibco | 10272625
PBS (sterile) | DPBS without Calcium and Magnesium | Washing steps | Gibco | 14190-136
PBS (sterile) | DPBS without Calcium and Magnesium | Washing steps |  | 14190-144
HBSS (10X) |  |  |  | 14185-052
FlowCyto PBS | BD FACSflow |  |  | 342003/LOT2112409814
PBS (non sterile) | X100 PBS TABLETS | Washing steps (non sterile) | Thermo Fisher Scientific | 11510546
4% PFA | (para)Formaldehyde | Fixation of cells | Histolabs
Triton X-100 (100% solution) | nonionic surfactant (detergent) | Permeabilization of cells
Triton X 10X (10% solution) | nonionic surfactant (detergent) | Permeabilization of cells |  | 85111
Sodium Bicarbonate | buffer | Stabilized pH of media
Methanol | Solvents | suitable for permeabilization when detecting intracellular protein
DMSO | Dimethyl sulfoxide | polar aprotic solvent that dissolves both polar and nonpolar compounds | Sigma-Aldrich | D8418
DMSO (STERILE) | Dimethyl sulfoxide for freezing of cells | polar aprotic solvent that dissolves both polar and nonpolar compounds |  | D2438
Sodium Bicarbonate | Solvent for Concanavlin A |  | Cytivia | SH30033.01
Suract-amps (TWEEN) 10% |  |  |  | 28320/LOT_WB313593
PFA 16% |  |  |  | 28906/LOTVL318692
PBS tablets (non-sterile) |  |  |  | 18912-014
Countess | cell counting chamber slide |  | Invitrogen | 100078809
Trypan blue |  | cell counting reagent | Invitrogen | T10282
PBS tablets (non-sterile) |  |  |  | 18912-014
Phenotypic Reference Controls
D-SORBITOL | Negative control | No morphological changes | Sigma-Aldrich | S1876-100G
ETOPOSIDE | phenotypic reference compounds | large flat nucleoli | Sigma-Aldrich | E1383-25MG
FENBENDAZOLE | phenotypic reference compounds | giant, multinucleated cells | Sigma-Aldrich | F5396-5G
METOCLOPRAMIDE | phenotypic reference compounds | enhanced Golgi staining and some cells with fused nucleoli | Sigma-Aldrich | M0763-10G
BERBERINE CHLORIDE | phenotypic reference compounds | redistribution of mitochondria | Sigma-Aldrich | B3251-5G
FLUPHENAZINE DIHYDROCHLORIDE | phenotypic reference compounds | Enhanced Golgi staining and some cells with fused nucleoli | Sigma-Aldrich | F4765-1G
TETRANDRINE | phenotypic reference compounds | Abundant ER | Sigma-Aldrich | T2695-1G
OXIBENDAZOLE | Positive (morphological) control | large, multinucleated cell with fused nucleoli | Sigma-Aldrich | O3132-25MG
CA-074 ME | Positive (morphological) control | Bright, abundant Golgi staining | Sigma-Aldrich | 205531-1MG
staurosporine | Cytotoxic control | cytotoxicity | Sigma-Aldrich
stains
Hoechst 33342 | Nucleus |  | Invitrogen | H3570
Wheat Germ Agglutinin Alexa Fluor™ 555 Conjugate | Golgi, plasma membrane |  | Invitrogen | W32464
Phalloidin Alexa Fluor™ 568 conjugate | F-Actin cytoskeleton |  | Invitrogen | A12380
SYTO 14 green | Nucleoli, cytoplasmic RNA |  | Invitrogen | S7576
Concanavalin A/Alexa Fluor 488 conjugate | Endoplasmic reticulum |  | Invitrogen | C11252
MitoTracker (Deep Red) | Mitochondria |  | Invitrogen | M22426

## IMX_channels_info
Label | Source | Cat-No | IMX Excitation spectra (nm) | IMX Emission spectra (nm) | Channel name IMX | image prefix | Target
Hoechst 33342 | Invitrogen | H3570 | 377/50 | 447/60 | DAPI | W1 | DNA (nucleus)
MitoTracker Deep Red FM | Invitrogen | M22426 | 628/40 | 692/40 | CY5 | W2 | Mitochondria
Wheat Germ Agglutinin Alexa Fluor™ 555 Conjugate | Invitrogen | W32464 | 562/40 | 624/40 | TEXAS RED | W3 | Golgi, plasma membrane (sialic acid and N-acetylglucosamine moieties of glycoproteins)
Phalloidin Alexa Fluor™ 568 conjugate | Invitrogen | A12380 |  |  |  |  | F-actin cytoskeleton
SYTO 14 green | Invitrogen | S7576 | 531/40 | 593/40 | CY3 | W4 | Nucleoli, cytoplasmic RNA
Concanavalin A/Alexa Fluor 488 conjugate | Invitrogen | C11252 | 482/35 | 536/35 | FITC | W5 | Endoplasmic reticulum (mannose residues of glycoproteins)
IMX settings
# |  | exposure (ms) | z-offset | Digital confocal
1 | DAPI | 100 | 11 | 0.01
2 | CY5 | 50 | -3.76 | 0.01
3 | TEXAS RED | 150 | -1.28 | 0.01
4 | CY3 | 25 | -3.78 | 0.01
5 | FITC | 75 | -1.26 | 0.01

## cell painting protocol
(Manual) Preparations
| action | location
1 | prepare multi-well experimental plates:
| Label plates and lids with barcode | cell lab
| check cell confluency | cell lab
| place plates in incubator | robot lab
2 | prepare solutions:
| prepare 1X PBS | hood/lab
| prepare mitotracker blocking solution | hood
| prepare 0.1125% Triton X-100 solution | hood
| prepare mitotracker staining solution | hood
| prepare post-fixation staining mixture | hood
3 | prepare washer:
| prime with water | robot lab
| fill bottle D with PBS | robot lab
| prime pump D with PBS | robot lab
4 | prepare dispenser:
| prime all with water | robot lab
| Peripump 1 - prepare mitotracker solution | robot lab
| Peripump 2 - prepare stain coctail solution | robot lab
| Syringe A - prepare with 4% PFA | robot lab
| Syringe B - prepare with 0.1% Triton X-100 | robot lab
Cell painting
|  |  |  | volume (ul) | program
# | action | equipment | solution | 384-well plate | 384-well plate | remark
0 | prepare dispenser | dispenser | -
| prime all with water | dispenser | autoclaved ddH2O |  | 0_D_prime_all
| attach pumps to reagents | manual | -
| Syringe B - prime with mitotracker blocking solution (1 h before start) | dispenser |  |  | blocking solution
| Peripump 2 - prime with stain coctail solution | dispenser
| Syringe A - prime with 4% PFA | dispenser
| Peripump 1 - prime with 0.1125% Triton X-100 | dispenser
| if not in use for 20 minutes or longer | dispenser |  |  | purge-prime
0 | prepare washer | washer | -
| prime with water | washer |  |  | 0_W_D_prime_PBS
| prime with PBS | washer |  |  | 0_W_D_prime_PBS
| Cell painting protocol |  | - |  | automation_5.0
| move plate from incubator to washer | robot arm/manual | -
| Washing | washer pump D | PBS | leave 20ul
move plate from washer to dispenser
1 | Mitotracker staining | dispenser Syringe B | mitotracker solution | 30 ul (1.67X concentration)
| move plate from dispenser to incubator | robot arm/manual | -
| Incubation for 20 minutes | incubator | -
| move plate from incubator to washer | robot arm/manual | -
| Washing | washer pump D | PBS | leave 20ul
| move plate from washer to dispenser | robot arm/manual | -
2 | Fixation | dispenser Syringe A | 4% PFA | 80ul
| move plate from dispenser to hotel | robot arm/manual | -
| Washing | washer pump D | PBS | leave 10ul
| move plate from washer to dispenser | robot arm/manual | -
3 | Permeabilization | dispenser peripump 1 | 0.1125% Triton X-100 in PBS | 80ul(1.125 X concentration)
| move plate from dispenser to hotel | robot arm/manual | -
| Incubation for 20 minutes | hotel | -
| move plate from hotel to washer | robot arm/manual | -
| Washing | washer pump D | PBS | leave 10ul
| move plate from washer to hotel | robot arm/manual | -
4 | Post-fixation staining | dispenser peripump 2 | staining mixture in PBS | 20ul (1.5 X concentration)
| move plate from dispenser to hotel | robot arm/manual | -
| Incubation - 20 (30?) minutes | hotel | -
| move plate from hotel to washer | robot arm/manual | -
| Washing | washer pump D | PBS | leave 80 ul
| move plate from washer to cold room | manual | -
5 | Cleaning |  | -
| clean washer |  | warm H2O, ethanol, H2O |  | programs in automation prep folder
| clean dispenser |  | H20, ethanol, ddH2O, take off casettes |  | programs in automation prep folder
6 | Imaging | IMX microscope | -